PUBLIC ENTITY PAK EXPOSURE SURVEY

GAS UTILITY

Named Insured:      		State:

1.	Annual payroll (less clerical): $

2.	Number of users: Industrial      	Commercial      	Residential

3.	Gas is:   Produced	 Purchased and resold	Purchased from:

4.	Who is responsible for leakage survey?

Frequency of survey:      		Date of last survey:

5.	Describe procedure of leakage survey:

Describe repair procedure:

6.	Year original system installed:

Date of last corrosion survey:

7.	Describe main service replacement program:

a.	Are new lines hydrostatic or pressure tested?	 Yes	 No

b.	Are records on file?	Yes	 No

8.	Who is responsible for odorization?

Are records maintained?   Yes  No	Are monthly odorant level checks made?  	 Yes	 No

Describe type of odorization system used:

9.	Does gas system have high and low pressure warning devices?	 Yes	 No

Are devices constantly maintained?	 Yes	 No

Pressure records kept?	 Yes	 No	For how long?

10.	Who installs main extensions?

11.	Who installs services?

Turn-on and turn-off procedures?

12.	Are regulating stations adequately fenced, housed or otherwise secured?	 Yes	 No

13.	Are there any liquefied natural gas (LNG) operations?	 Yes	 No

Type of container used to hold gas:

14.	Does gas company follow an established procedure at time customer meter is turned on?	 Yes	 No

Describe procedure:

15.	Are meters removed or locked when gas is turned off?	 Yes	 No

16.	Does gas company maintain a customer complaint log?	 Yes	 No

Are leak complaints worked on same day received?	 Yes	 No

17.	Has operation ever been cited or fined for non-compliance with required standards?	 Yes	 No

If yes, please provide details, copy of non-compliance notice(s) and action(s) taken to correct problem(s).

18.	Does entity contract any part of their operations (construction, maintenance, inspection, etc.)?	 Yes	 No